## Sheet1
Sprinkler System @
Scope of project: | 1- To design and setup new irrigation using a well with 2 inches pipe
2- Dymanic water depth of the well is assume to be 30ft ( it is unknown about the well capacity)
3- pipe size is 1 1/4 (1 ") to allow 15 to 30 GPM flow rate. Eight zones system is designed for best coverage
4- No additional charge due to the tree root
Labor Cost/partial material
Description | Unit | Cost | subtotal |  | Note
Number of zones | 8 | 670 | 5360 |  | Best suit for 8 zones
Couplers/heads |  |  |  |  | Included
Flexible pipe/heads |  |  |  |  | Included
Labor Cost |  |  | 5360 |  | Original fee
Material Cost
Description | Per unit | Per unit updated | subtotal | qty | Note
Smart Timer | 180 | 180 | 180 | 1 | parts
Inline valve 1.5 inches | 80 | 80 | 640 | 8 | Parts
Irrigation box | 80 | 80 | 320 | 4 | 80/valve
Shut off valve | 30 | 30 | 60 | 2
Check valve | 40 | 40 | 40 | 1 | Valve box for protection
Pipes/coupler/heads/funny pipes |  | 1520 | 1520 | 1 | from 800 to 1520
Pump | 450 | 550 | 450 | 1 | parts
Wires | 250 | 370 | 250 | 1 | Control wires
Material Cost |  |  | 3460 |  | Original fee
|  | Total cost | 8820 |  | Old cost